
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Supply and install the Pinnacle PBRJ roof expansion joint cover system designed to provide a durable and watertight roof joint solution while accommodating multi-directional building movement. The system shall incorporate factory-fabricated transitions to maintain continuous weatherproof performance across roof interfaces. Support flanges shall be galvanized steel as standard, with optional stainless steel, aluminum, or copper construction. The cover assembly shall include a 60 mil black EPDM membrane as standard (Neoprene or PVC optional) and a flexible support foam to facilitate movement. Primary aluminum components, where specified, shall be manufactured from extruded aluminum alloys conforming to ASTM B221, with sheet materials complying with ASTM B209. The system shall be suitable for built-up, flat, and sloped roof applications, accommodate joint widths from 25 mm to 406 mm (1" to 16"), and provide reliable long-term protection against water infiltration, thermal movement, and environmental exposure. Installation shall be in accordance with the manufacturer's recommendations and approved shop drawings.


	PBRJ & PBRJW

	50-400mm


	   [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

