
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	

The supply and application of Pinnacle PSM-series interior wall and ceiling joint covers are designed for gap sizes ranging from 50 mm to 200 mm, providing a durable, low-maintenance metal cover suitable for interior environments. The system features a free-floating aluminum center plate that spans the joint and slides smoothly between the retainer assemblies to accommodate building movement while maintaining a clean, seamless interior finish. The cover can be coated or clear-anodized, with options for custom colors to match surrounding wall or ceiling finishes. Manufactured from high-quality aluminum extrusions, Pinnacle Solutions uses multiple alloys and tempers ideal for interior performance—including 6063-T5, T6, T52; 6061-T5, T6, T51; 6105-T5, T6; 6005-T5; and 6005A-T5, T61—in full compliance with ASTM B221 standards.

.

	PSM & PSMC

	50-200mm


	   [image: image1.png]-_— e e e — ——— —— - — S~ o~ & .







Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

_1840633291.unknown

