
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Supply and install the Pinnacle PFBI floor expansion joint cover system designed to provide a seamless, durable, and aesthetically concealed solution for interior floor expansion joints while accommodating thermal and structural movement. The system shall be suitable for a variety of floor finishes and supplied with frame depths appropriate to the specified floor construction. Frame assemblies shall be manufactured from extruded aluminum alloys 6063-T5, T6, and T52 conforming to ASTM B221, with optional alloys 6061-T5/T6/T51, 6105-T5/T6, 6005-T5, and 6005A-T5/T61 available as required. Aluminum sheet components shall be manufactured from 6061-T6, 3003-H14, or 5005-H34 alloy conforming to ASTM B209. The system shall incorporate a steel turn bar with corrosion-resistant “A” coating protection. The PFBI expansion joint cover system shall accommodate joint widths from 25 mm to 50 mm (1" to 2"), providing a smooth, flush floor surface, reliable movement capability, and long-term performance. Installation shall be in accordance with the manufacturer's recommendations and approved shop drawings.
	PFBI & PFBIW

	 50-200mm


	   [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

