
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Supply and apply Pinnacle PPF heavy-duty floor joint cover system designed for floor-to-floor installations requiring a robust and traffic-resistant solution. Engineered with an interlocking, articulated design, the PPF system accommodates horizontal movement and limited vertical deflection, making it suitable for vehicular and fire-tender rolling loads in demanding environments. A water-resistant elastomeric gasket enhances durability and eliminates metal-to-metal noise under movement. Manufactured from high-strength extruded aluminum alloy 6063-T5/T6, in compliance with ASTM B221, the system ensures structural performance and long-term reliability. The elastomeric gasket is produced using a dual-durometer formulation meeting ASTM D2000 requirements. The PPF series is designed to handle a general movement capacity of +-30%, offering a dependable and low-maintenance expansion joint cover solution for high-traffic interior or exterior floor applications.
                                                                                                                                   
	PPF & PPFW

	50-100mm


	   [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

