
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	The supply and installation of Pinnacle PWF-Series interior wall and ceiling joint covers are designed to provide a flush, discreet appearance for interior applications while accommodating building movement. The system features a continuous single-gasket configuration with an engineered soft-center elastomeric seal that maintains a clean, seamless architectural finish. The assembly consists of high-quality aluminum extrusions manufactured from alloy 6063-T6 in full compliance with ASTM B221 standards, combined with an extruded gasket conforming to ASTM D2000, 65 Shore A hardness. Exposed surfaces shall be available in standard manufacturer colors to suit adjacent wall and ceiling finishes. The system is intended to deliver durable, low-maintenance performance for interior environments while ensuring reliable long-term functionality and visual continuity. Basis-of-design product shall be Pinnacle Model PWF-– Flush Single Gasket Typ
	PWF

	50-100mm


	   


Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

