
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Provide and install Pinnacle PSFW-X Series surface-mounted metal wall cover system designed for External wall-to-wall applications where a durable, low-maintenance finish is required. The system features a self-centering aluminium center plate that spans the joint and slides within the retainer assemblies to permit movement, and may be painted to match the surrounding wall finish. Aluminium extrusions shall be manufactured using 6063-T5 (ASTM B221), with aluminium sheets in AA 1200 / 3003-H14 / 5005-H34 (ASTM B209). The exposed metal shall be aluminium with a Class II clear anodized finish, unless otherwise specified. A standard moisture barrier may be provided where required. The system shall accommodate ±50% movement during expansion and contraction. The basis-of-design product is Pinnacle Model PSFW-X – Vertical Cover Plate Type.

	PSFW-X & PSCW-X

	50-500mm


	[image: image1.png]s

e -~ ]

o e e N g e i

BB ) AR Az S







Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

