
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Supply and install the Pinnacle PTP Gasketed Series Floor-to-Floor Joint Cover System for interior floor expansion joints, suitable for varying floor finishes and recessed flush installation as per approved profile. The system shall comprise extruded aluminium side frames and central cover plate manufactured from aluminium alloy 6063-T5 conforming to ASTM B221, with optional architectural alloys as per design requirements. All aluminium components shall have protective ZiO/ZnCrO₄ coating on concealed surfaces for corrosion resistance.

The system shall include a dual-durometer TPR gasket (65 Shore A / 90 Shore A) conforming to ASTM D2240 / ASTM D2000, and injection-moulded glass-reinforced plastic mechanical components. The joint cover shall be tested for interior applications and shall accommodate ±40% movement while maintaining structural stability and flush surface performance.


	PTP & PTPW

	50-100mm


	   [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

