
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Supply and apply Pinnacle PSR Series flush metal floor-to-floor joint cover system suitable for both interior and exterior applications. Designed with a self-centering aluminum center pan, the system accommodates thermal and seismic building movement while maintaining a flush surface profile under traffic. Engineered for gap sizes ranging from 50 mm to 400 mm, the PSR model provides reliable performance across a wide range of floor expansion joint conditions. The cover is manufactured from extruded aluminum alloy 6063-T5, conforming to ASTM B221, and incorporates a PAN-type design secured with durable mechanical anchors. An EPDM water barrier is included to ensure moisture resistance in both indoor and outdoor environments. The system is rated for standard-duty loading of 500 lbs, making it suitable for pedestrian and light rolling loads. The PSR Series is designed to accommodate ±50% movement, ensuring dependable functionality under thermal and seismic activity.

	 PSR &  PSRW

	50-400mm


	 [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

