
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Supply and install PPDA / PPDAW Expansion Joint Cover System designed to accommodate thermal and seismic movement in floor and wall applications. The system shall consist of extruded aluminum frames manufactured from 6063-T5/T6 alloy in compliance with ASTM B221, complete with a 78 Shore A elastomeric compression seal and uncured neoprene wing seals. The PPDA / PPDAW series is designed for smooth operation, durability, and low maintenance, accommodating joint openings from 19 mm to 165 mm with a minimum live load capacity of 500 lbs, suitable for pedestrian & heavy traffic applications.
	  PPDA & PPDAW

	50-200mm


	   [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

