
TENDER / MATERIAL SUBMITTAL INFORMATION
	
	

	Project Name
	______________________________________________  

	Client
	______________________________________________

	Contractor
	______________________________________________

	Project Location / Site
	______________________________________________

	Tender Reference No.
	______________________________________________

	Specification Section
	______________________________________________

	Submission Date
	______________________________________________

	Prepared By
	______________________________________________


	Description
	Model Name
	Gap Size
	Image

	Supply and apply Pinnacle PPTCP seismic floor joint cover system designed for high-performance environments where both live load and seismic movement must be efficiently managed. This system features an integrated dampening mechanism that minimizes noise and prevents disruptive “clunking” during heavy rolling traffic, ensuring smooth and quiet operation. Engineered to accommodate multi-directional seismic activity, the PPTCP system also compensates for vertical slab deflection, maintaining reliable performance in dynamic building conditions. The primary structural components are manufactured from high-strength extruded  6063-T5, T6, T52; 6061-T5, T6, T51; 6105-T5, T6; 6005-T5; and 6005A-T5, T61—all in compliance with ASTM B221 standards. providing excellent corrosion resistance and formability. Designed for demanding interior or exterior floor applications, the PPTCP series accommodates ±50% movement, delivering a durable, stable, and low-maintenance seismic expansion joint cover solution.

	PPTCP

	150-500mm


	   [image: image1.png]





Source: Pinnacle Solutions, 201/A, Arihant Royale, Shastri Nagar,Lal Bahadur Road, Mulund (W), Mumbai – 400080, Web: www.pinnaclesolutions.inTel.: +91-8108168086,E-mail: info@pinnaclesolutions.in

